## Sheet1
S l No. | Item Name | Item Description | Item Quantity
1 | 2 Channel 60 MHz Digital Storage Oscilloscope | 60 MHz, Two channel,1GS/s sampling rate,2.5K Record length,Color Display,11 Automatic Measurement ,FFT,USB interface,with standard accessories & 3 year warranty | 15
2 | 100 MHz Digital Storage Oscilloscope | 100 MHz, Two channel,1GS/s sampling rate,2.5K Record length,Color Display,11 Automatic Measurement ,FFT,USB interface,with standard accessories & 3 year warranty | 11
3 | 4 Channel 100 MHz DSO(Isolated) | Measures AC/DC current to 600A, Accuracy : 2%± 5 count, Inrush amps with integration time 100msec. Measures AC/DC volts 600V , Accuracy: 1% ± 5counts , Resistance measurement upto 600 O , Continuity , Backlight, True R M S Measurement, Automatic low battery indicator, display mode function | 1
4 | Analog Oscilloscope | DC- 30 MHz (-3d B), Dual Channel, Rise Time<= 11.6 ns Coupling : AC/DC/GND, Sensitivity : 0.5V/div. Mono display, Built in Component Tester, Two 10X Probes , Two BNC-BNC Cables, Calibration Certificates | 25
5 | Function Generator | 10 MHz Function Generator Specifications Frequency Range : 0.2 Hz - 10 MHz Output Level : 10Vp-p (50 ohms), 20Vp-p(Open Circuit), Fully Protected Display : Simultaneous Frequency and Amplitude Display Types of Waveforms : Sine, Square, Triangle, TTL, CMOS, Pulse, and Sweep Duty-Factor Variable : 20%- 80% Triangle Linearity : >90% DC-Offset : -5V - +5V (50 Ohms), -10V - +10V (Open Load) | 35
6 | Dual DC Power Supply | Constant Voltage Mode Regulation: - Line : + 0.01% + 2mV for + 10% change in line output. Load : + 0.01% + 2mV for load change from zero to full load. Ripple and Noise : 1mV rms max.20Hz-20MHz. Constant Current Mode Regulation: - Line :+ 0.1% + 250µA for + 10% line change . Load : + 0.1% + 250µA for change in output voltage from 0Volts to maximum output voltage Ripple and Noise : 0.04 rms. | 30
7 | Digital Multimeter | Voltage DC, Max 1000V, Max resultion 0.1mV, Voltage AC, Max 1000V, Max resultion 0.1mV, Current AC Max 10A, Max resolution 0.01 mAMaximum voltage between any terminal and ground 600V,Surge protection 6kV peak/IEC 61010-1 600V. | 10
8 | TMS320 LF 2812 Starter ki | TMS320 LF 2812 DigitalSignal Processor operating at 150 MHz, 18 K words onchip RAM,128K words onchip FLASH ROM,64K words on board RAM, Expansion | 5
9 | TMS320 LF 28335 EZDSP Starter kits | TMS320F283335 Floating Point Digital Signal Controller operating at 150 MHz ,512 KB on-chip flash memory,68 KB on-chip RAM, 12 bit ADC with 16 input channele,ADC Conversion Time is 80ns.,128k x 16 off chip SRAM ,Clamshell socket for the F 28335 DSC, RS-232 interface with on board transceiver and 9-pin DSUB connector, Can interface with on board transceiver and 9 pin DSUB connector. | 5
10 | FPGA SPARTAN development kits | FPGA kit- Xilinx Spartan 3S200 or above, 5V SMPS - 1 no., Number of 8bit output connectors – 8 nos.,Number of 16bit input connectors – 8 nos.,Connecting cable – as per requirement,Parallel port JTAG for Xilinx CPLD- 5 nos. | 5
11 | FPGA kit with A Cyclone III | 4-channel 8-bit ADC, SPI- compatible – providing maximum samplerate of 200ksps, 4-channel 8-bit DAC, SPI-compatible – operating at clock rates of up to 40MHz, 4x PWM power drivers, 8-way general purpose DIP- Switch, 8 RGB LEDs, 5 PDA- | 5
12 | Microwave test bench | "• Study of the characteristics of Klystron tube and to determine its electronic tuning range • To determine the frequency in a rectangular waveguide working on TE10 mode • To measure the polar pattern and the gain of following antennas - Standard Gain Horn - Pick up horn - Slotted Broad Wall - Slotted Narrow Wall - Dielectric Antenna - E- plane Sectorial Horn - H-Plane Sectorial Horn - Pyramidal Horn - Parabolic Dish " | 1
13 | Digital IC Trainer Kit | 16 Logic input toggle switches. One push button for Mono pulse. 16 Logic output indicators LED display. 7 Segment Display, 2- Internal driver driven, 1 - External driver driven, TTL Clock generation of 1 Hz, 10Hz, 100Hz, 1KHz, 10KHz, 20KHz DC Power Supply +5V, +12V, -12V (Short circuit protected & IC Regulated) | 30
14 | Rapid Prototype PCB Machine (For | 1. Max. material size and layout area required(X/Y/Z) (9"x12.6"x2.24") , Resolution (X/Y)0.625um (0.0246mil), Milling spindle Max 41,000 rpm, software controlled including software, Manual | 1
15 | Digital Communication Training System | lDigital Synthesized Sine& Cosine wave generation with variable step frequencies : 1.6 KHz, 3.2 KHz, 10 KHz, 20 KHz,lClock generator with variablelstep frequencies : 1.6 Khz,3.1 KHz, 10 KHz, 20 KHz,Data Pattern length of 256 bit,Encoding Techniques : 1bit, 2bit, 3bit, 4bit,Modulation Techniques : ASK, FSK, BPSK, DBPSK, QPSK,DQPSK, p /4QPSK, OQPSK, M- ary,ASK, M-ary FSK, MSK, 8- PSK, 8-QAM, 16-PSK, 16- QAM, | 1
16 | Antenna trainer system | "RF generator : 550 MHz - 850 MHz variable (22 Nos.) Frequency Display : LCD RF level variation : 10 dB Directional Coupler : Forward & Reverse with level adjustment Matching stub : Slide stub Antenna rotation : 0-360° Resolution 1° Transmitter & Receiver masts provided Receiving antenna : Folded dipole with reflector Detector Display : LCD Detector Level : Adjustable Power Supply : 220/110 V, 50 Hz / 60 Hz on request Power Consumption : 2 VA (approximately) Inter connections : 4 mm Banana sockets Dimensions (Main unit) : W 285 × D 390 × H 88 Weight (Main unit) : 2.5 Kg (approximately " | 1
17 | CDMA trainer | "Power supply requirement 230VAC, 50Hz In built regulated power supply On board Digital Data signal generator to generate any binary input Word length: 8 bit Word clock frequency: 240 kHz Data format NRZ (Non Return to Zero) On board Pseudo Random Bit Signal generator to generate pseudo random bit sequence signal,Bit length: 15 bits Direct sequence spread spectrum (DSSS) generator and decoder On board analog signal generator variable upto 3.4khz Carrier generator: 1.44MHz Modulator: Binary Phase Shift Keying Modulator Pulse Width Modulator Demodulator : Binary Phase Shift Keying Demodulator Pulse Width Demodulator Power Supply : 220 /110V, 50 Hz. 60 Hz on request Power Consumption : 4 VA (approximately) Dimensions (mm.) : W 340 × D 241 × H 105 " | 1
18 | Microcontroller Development Board | a) Universal Development Board for different Microcontroller Architectures (8051, PIC16F877, ATmega128, LPC2148, CY8C27643) Specification | 18
socket for attaching different Microboards, connectors for USB communication, LCD display, GLCD display and MMC/SD card, DIP switches for enabling pull-up/pull- down resistors and on- board modules, Jumpers used to pull-up/pull- down resistors and push buttons logic state, Touch panel controller, ADC input, Push buttons, Piezo buzzer, LEDs, Socket for temperature sensor, Serial EEPROM module b)MicroBoards for i)8051 with AT89S8253 MCU ii) PIC with PIC16F887 MCU iii)ARM with LPC2148 MCU iv)AVR with ATmega128 MCU v)PSoC with CY8C27643
19 | TMS320C6713 DSP Development Board | "TMS320C6713 DSP Development Board with 512K Flash and 16MB SDRAM C6713 DSK Code Composer Studio IDE including the Fast Simulators, USB Cable, Universal Power Supply, AC Power Cord(s) " | 18
20 | FPGA Development Board | "Spartan-3A (XC3S700A- FG484), Platform Flash (XCF04S- VOG20C), 50 MHz crystal oscillator on-board, 4 Mbit Platform Flash PROM, 32M x 16 DDR2 SDRAM, 32 Mbit parallel Flash, 2-16 Mbit SPI Flash devices, Analog Interface Devices, 4-channel D/A converter, 2-channel A/D converter, Ethernet 10/100 PHY, JTAG USB download port, Two 9- pin RS-232 serial port, PS/2- style mouse/keyboard port, 15-pin VGA connector capable of 4,096 colors, One FX2 100-pin and two 6- pin expansion connectors, 20 user I/O available on standard header pins, Stereo mini-jack for PWM audio, Rotary/push button function switch, LEDs, slider switches, push- button switches, 16x2-Line LCD" | 18
21 | Computer Table | Monitor Desk having ¾” Veneered teak Wood toping and laminated finish with sliding tray for key board and mouse, supported on powder coated steel frame of hollow square or rectangular sections made out of 16 gauge steel sheet table length 850mm, width 725mm and height 750mm | 50
22 | Computer chair | Computer Chair special type with Push back type manual lifting with arm | 50
23 | Steel Cabinet | Steel Cabinet with 4 fixed shelves, 78x36x19 (22g),64kg | 8
24 | Mentor graphics HEP Category 1 (25 user) | Mentor graphics HEP Category 1 (25 user) DA IC, IC Graph Basic IC station SDL Physical verification Calibre XRC Analog mixed signal ELDO Analog spice simulation ADMS mentor Tools under HEP 1 for a period of 3 years | 1
25 | Mentor graphics HEP Category-2(25 user) | Mentor graphics HEP Category 2 (25 user) DA IC, FPGA Flow HDL Designer Model Sim SE Mixed Leo Spec L3 ASIC Precision RTL plus synthesis (FPGA Advantage) mentor Tools under HEP 2 for a period of 3 years | 1
26 | XILINX ISE System Edition ver.13.4Software(25 user license) | XILINX ISE System Edition ver.13.4Software(25 user license | 1
27 | Smart 10 KVA online UPS | Smart 10 KVA online UPS,Sine Wave, 192V Deisgn | 3
28 | 5kVA Online UPS | 5kVA on line UPS | 3
29 | Laptops | " Core i5 or higher based Laptop system Processor: Intel Core i5 or higher Memory : 4GB DDR3 HDD : 500GB, NIC/WiFi 3 Yrs Extended Warranty Back Pack " | 30
30 | iMac | "Quad Core 2.7GZ/6MB L3 Cache/4GB RAM/500GB HDD/Graphic Processor with 512MB memory/GB NIC/WiFi Audio/Magic Trackpad Inputs" | 10
31 | Tablet PC | Min Dual Core 1Ghz Processor, 32 GB Storage, WiFi-3G Connectivity, Multi Touch Display, Document Format Support | 5
32 | PAM-PPM-PWM Modulation & Demodulation Trainer | "On-board Sampling Frequencies (Pulse) : 8 KHz, 16 KHz, 32 KHz, 64 KHz On-board Generator : 1. Sinewave : 1 KHz & 2 KHz (Gain Adjustable) 2. Squarewave : 1KHz & 2 KHz Mains Supply : 220/110V, 50 Hz . 60 Hz on request Power Consumption : 3 VA (approximately) Dimensions (mm) : W 326 × D 252 × H 52 " | 1
33 | Arbitrary 1 channel function generator | 25 MHz, GPIB and lan | 1
34 | Arbitrary 2 channel function Generator | 25 MHz, GPIB and lan | 1
35 | Digital multimeter | true rms hand held, 6000 count with bar graph | 2
36 | Desk top Computers | Desktop Computers Intel Core i7 Processor, Min 4 GB RAM, 500 GB HDD, 100/1000 NIC,18.5” LED Monitor,3 Yrs Extended Warranty | 65